ANGEL PsychoPy Task

Plain-Language Setup & Configuration Guide

This guide explains, in plain language, what every setting in angel_config.json (and the on-screen startup dialog) does, what the task itself measures, and how to configure it correctly for a behavioral, EEG, or fMRI session. No programming knowledge is required to use this guide.

Reference: Nair AK, Sasidharan A, John JP, Mehrotra S and Kutty BM (2016) Assessing Neurocognition via Gamified Experimental Logic: A Novel Approach to Simultaneous Acquisition of Multiple ERPs. Frontiers in Neuroscience 10:1.

## Contents

1. What This Task Is

2. The Two Levels, in Plain Terms

3. What a Practice/Main Run Looks Like

4. Choosing a Session Mode: Behavioral, EEG, or fMRI

5. Configuration Reference

5.1 Run & Session Settings

5.2 Timing Settings

5.3 Corollary Discharge & Feedback Settings

5.4 fMRI / Scanner Settings

5.5 EEG / Event Marker Settings

5.6 Response Keys & Devices

5.7 Display Settings

5.8 Files & Folders

6. Understanding the Output CSV File

7. Common Setups (Recipes)

8. Troubleshooting

# 1. What This Task Is

ANGEL is a computer task used to study how the brain processes visual pictures, sounds, and the participant's own button-press responses. This program (angel_paradigm.py) is a faithful PsychoPy recreation of the original E-Prime version of the task described in the paper above. It shows a picture, plays sounds, waits for a left/right button response, and records exactly when everything happened -- accurate to the millisecond -- so the timing can later be lined up with EEG or fMRI recordings.

You do not need to understand the code to run a session. Everything a researcher or RA needs to change lives in one settings file (angel_config.json) or in the three-page pop-up window ('ANGEL Config 1/3, 2/3, 3/3') that appears when the program starts. This guide explains every one of those settings.

# 2. The Two Levels, in Plain Terms

The task has two 'Levels'. Both use the same two picture families:

- Faces -- 'Mooney faces': black-and-white photos that either look like a clear face (meaningful) or a scrambled, unrecognizable face (ambiguous).

- Shapes -- 'Kanizsa triangles': a pattern of three rotated shapes that either forms an illusory triangle (meaningful) or does not (ambiguous).

### Level 1 (the original paper's "Level 2")

A picture appears on the LEFT or RIGHT of the screen. The participant simply presses the button on the SAME side as the picture. After the response, a short tone ("corollary discharge feedback") may play right away, after a short delay, or not at all, depending on the block's schedule. This tests whether the brain treats a tone that is a direct result of one's own action differently from one that is not.

### Level 2 (the original paper's "Level 3")

A picture appears in the center, and the participant judges whether it is the MEANINGFUL or AMBIGUOUS version. Which button (left/right) means "meaningful" flips exactly halfway through the run (the "reversal") -- so the same picture that used to mean "press left" now means "press right". This tests cognitive flexibility. Level 2 can optionally also use the corollary-discharge tone feedback (the level2_cd setting).

# 3. What a Practice/Main Run Looks Like

- Instructions -- picture + audio slides explaining the task (can be skipped).

- Practice trials -- a handful of trials so the participant learns the response mapping. At the end, an accuracy score is shown and the participant can repeat practice or continue (this screen can be turned off).

- Wait for trigger -- the screen shows "Waiting for trigger..." until the trigger key is pressed (space or 's' by default). In an MRI suite this key is normally sent automatically by the scanner; in a plain behavioral session, press it yourself (e.g. spacebar) to begin.

- Main blocks -- by default, 16 blocks per level, each with 25 "active" trials (a response is expected) and 3 "baseline" trials (a blank/rest period, no response). A short performance-feedback screen appears every 2 blocks (optional).

- End of level/session -- a final accuracy summary is shown, followed by a thank-you screen.

# 4. Choosing a Session Mode: Behavioral, EEG, or fMRI

The task behaves the same way in every mode -- the same pictures, sounds, and timing. What changes is what gets recorded alongside the button-press data, and which settings you should turn on.

| Situation | What to set |
| --- | --- |
| Plain behavioral testing room, keyboard or button box, no EEG/MRI equipment | Leave everything at its defaults. marker_mode = none, fmri_mode = off. |
| EEG lab, need event markers time-locked to the EEG recording | Set marker_mode to lsl, parallel, cpod, or both, matching whatever your EEG amplifier/software expects (see section 5.5). |
| MRI scanner session | Turn fmri_mode ON. Make sure the scanner's trigger pulse is wired to send the trigger key (default 's') to the keyboard buffer. Every stimulus/response time in the output CSV will then also be reported relative to the scanner's first pulse. |
| No response pad/keyboard is connected at all (passive viewing) | Turn OFF cd_audio_feedback and show_feedback (section 5.3) so the task does not play a "feedback" tone/screen that assumes a button was pressed. |

# 5. Configuration Reference

Every setting below can be changed three ways, and all three end up in the same place: (a) editing angel_config.json in a text editor, (b) typing a --option-name value on the command line, or (c) using the on-screen startup dialog, which shows the current value and lets you change it before each run. Whatever you set in the dialog is automatically saved back to angel_config.json for next time.

## 5.1 Run & Session Settings

Controls what runs and how much of it, shown on dialog page 1 ("Run").

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| participant | test | The participant/session ID code. Used to name the output CSV file. | Type the participant's ID or code here before each session, e.g. S001. |
| levels | 1,2 | Which level(s) to run: 1, 2, or 1,2 for both. | Use 1,2 for a full session. Use just 1 or just 2 for a shorter, single-level session. |
| language | english | Language of on-screen instructions and audio narration (english, hindi, or kannada). | Match the participant's preferred language. |
| category_set | all | Which picture family to use: all, face (Mooney faces only), or shape (Kanizsa triangles only). | Use all for the full task. Use face or shape only for a shorter, single-family session. |
| blocks | 16 | Number of main blocks to run per level (16, 8, or 4). | 16 is the full paper-length run. Use 8 or 4 for shorter sessions (must still divide evenly by the picture-family count -- the program will tell you if a combination is invalid). |
| trials_per_block | 25+3 | Active trials + baseline (rest) trials in each block. | Leave at 25+3 unless you specifically need the shorter 20+3 option. |
| practice | 8 | Number of practice trials shown before the main blocks of each level. | Increase if participants often seem confused about the response mapping; decrease for experienced/repeat participants. |
| intermix_level_blocks | off | When both levels are run, shuffles Level 1 and Level 2 blocks into one mixed sequence instead of finishing Level 1, then Level 2. | Leave off for most studies. Turn on only if your design specifically calls for interleaved levels. |
| fullscreen | on | Runs the task in fullscreen (recommended for real sessions). | Turn off only while testing/debugging on your own desktop, so you can still see your mouse/other windows. |
| skip_instructions | off | Skips the picture/audio instruction slides and jumps straight into trials. | Leave off for a participant's first session. Turn on for quick technical test runs. |
| seed | (blank = random) | A fixed random seed, so the exact same trial order is generated every time. | Leave blank for real participants (each gets a fresh random order). Set a number only if you need to reproduce an identical run for testing/demoing. |

## 5.2 Timing Settings

Controls how long stimuli are shown and how strict the response window is, on dialog page 2 ("Timing/CD"). These match the original paper's timing and rarely need to change.

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| stim_duration | 0.240 s | How long the picture stays on screen. | Leave at default unless your protocol specifies a different exposure duration. |
| response_window | 0.700 s | How long after the picture appears the participant has to respond. | Leave at default. A miss is recorded if no key is pressed in time. |
| post_mask_min / post_mask_max | 0.200 / 0.900 s | The blank/masked interval after the response window, randomized within this range before the next trial starts. | Leave at default -- this jitter is part of the paradigm's design. |
| visual_distractor_mode | sync | Whether a flickering checkerboard distractor appears with the picture (sync), slightly offset in time (desync), or not at all (none). | Leave at sync to match the paper. Only change if your study specifically investigates distractor timing. |
| visual_distractor_offset_min / _max | -0.240 / 0.160 s | How far the distractor's timing can drift from the picture when visual_distractor_mode is desync. | Only relevant if visual_distractor_mode = desync. |
| paired_tone_offset_mode | continuous | Whether the paired tone's timing offset is drawn from a smooth random range (continuous) or the paper's three fixed E-Prime values (fixed). | Leave at continuous unless you are deliberately reproducing the original E-Prime timing exactly. |
| paired_tone_offset_min / _max | -0.240 / 0.160 s | The range the tone's timing offset is drawn from, relative to the picture, when in continuous mode. | Leave at default unless instructed otherwise by your protocol. |

## 5.3 Corollary Discharge & Feedback Settings

Corollary discharge (CD) is the short tone played after a response, and how it is scheduled and whether it is audible at all. Also covers the end-of-block/practice accuracy feedback screens. On dialog page 2 ("Timing/CD").

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| cd_schedule | by-block | How immediate / delayed / no-feedback trials are distributed: by-block, within-block, all-immediate, all-delayed, or all-none. | Leave at by-block to match the paper. all-none is useful for a quick technical test run with no CD tones at all. |
| level2_cd | off | Whether Level 2 also uses the corollary-discharge tone schedule (Level 1 always uses it). | Turn on only if your study design calls for CD feedback in Level 2 as well. |
| show_feedback | on | Shows the accuracy/RT summary screens: after every 2 main blocks, at the end of practice, and at the end of each level's main run. | Turn OFF for passive/no-response-device sessions, or if you don't want the participant to see their running accuracy score. |
| cd_audio_feedback | on | Whether the corollary-discharge tone is actually played out loud. The underlying event markers/timestamps for CD trials are always recorded either way, so EEG epoching is unaffected. | Turn OFF if no response pad/keyboard is connected -- otherwise a tone implying "you just pressed a button" can play even when nobody did. |
| cd_volume | 0.7 | Playback volume of the CD tone (0.0 to 1.0). | Adjust to a comfortable, clearly audible level for your speakers/headphones. |
| cd_repeats | 1 | How many times the CD tone repeats per feedback event. | Leave at 1 unless your protocol calls for a repeated tone burst. |
| cd_repeat_gap | 0.250 s | Minimum silent gap between repeated CD tone plays. | Only relevant if cd_repeats is greater than 1. |
| audio_instructions | on | Plays the spoken narration that accompanies the instruction slides. | Turn off in a quiet-testing-required environment, or if instructions will be given verbally instead. |

## 5.4 fMRI / Scanner Settings

On dialog page 1 ("Run") and used together with the trigger-key settings on page 3.

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| fmri_mode | off | When on, the exact moment the scanner trigger key is pressed is recorded, and every stimulus/response timestamp in the output CSV gets an additional column reporting its time relative to that trigger (columns ending in _from_trigger_s). | Turn ON for MRI sessions. Leave OFF for behavioral/EEG-only sessions -- the extra columns will simply be left blank rather than misleadingly filled in. |
| trigger_keys | space, s | Which key(s) count as "start the main task" / the scanner trigger pulse. | Set to whatever key your scanner's trigger box sends (commonly 's'). Keep 'space' too if you also want to be able to start manually during setup/testing. |
| wait_duration_s | 11.0 s | An extra fixed wait ("Waiting..." screen) after the trigger is detected and before the first block begins -- e.g. to let initial/dummy MRI scans finish. | Set to match the number of dummy scans your MRI protocol discards at the start, converted to seconds. |

## 5.5 EEG / Event Marker Settings

On dialog page 3 ("Output"). Event markers are small numeric codes sent out in real time so an EEG (or other) recording can later be aligned to exactly what happened in the task -- picture onset, response, etc.

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| marker_mode | none | Where to send event markers: none, lsl (network stream), parallel (parallel-port TTL pulses), cpod (Cedrus C-Pod over USB/serial), or both (all configured channels together). | Set to whatever your EEG amplifier/recording software expects. If you're not recording EEG, leave at none. |
| lsl_stream_name | ANGELMarkers | The name of the network (Lab Streaming Layer) marker stream, if marker_mode includes lsl. | Only change if your EEG software is looking for a specific stream name. |
| parallel_address | 0x0378 | The hardware address of the parallel port used for TTL pulse markers, if marker_mode includes parallel. | Set to your amplifier PC's actual parallel port address (ask your EEG technician if unsure). |
| ttl_pulse_width | 0.005 s | How long a parallel-port TTL pulse stays high before resetting to zero. | Leave at default unless your amplifier requires a longer/shorter pulse. |
| cpod_port | (blank = auto-detect) | Which COM/serial port the Cedrus C-Pod is connected to, if marker_mode includes cpod. | Leave blank to have the program automatically search for the C-Pod. If auto-detect is slow or picks the wrong device, look up the C-Pod's COM port in your OS's device list and type it here, e.g. COM7. |
| cpod_pulse_width_ms | 20 ms | How long the C-Pod's TTL output pulse stays high, in milliseconds. | Leave at default unless your amplifier requires a longer/shorter pulse. |
| suppress_practice_markers | off | When on, only the very first practice trial sends a single marker; every other practice-trial marker is skipped. Main-task markers are always sent in full regardless of this setting. | Turn ON if you don't want practice trials cluttering your EEG recording's marker stream. Leave OFF if you want practice logged exactly like the main task. |

## 5.6 Response Keys & Devices

On dialog page 3 ("Output"). These define which physical keys count as which response, so the same settings work whether participants use a keyboard or a response button box (most button boxes simply send keyboard key codes).

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| left_keys | left, z, 1 | Comma-separated list of keys that count as a "left" response. | Add/remove keys to match your keyboard or button box. Multiple keys can all mean "left" at once. |
| right_keys | right, slash, 2 | Comma-separated list of keys that count as a "right" response. | Same idea as left_keys, for the right-hand response. |
| trigger_keys | space, s | Keys that begin the main task / represent the scanner trigger pulse (see section 5.4). | See section 5.4 for MRI guidance. |

## 5.7 Display Settings

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| monitor | testMonitor | The PsychoPy monitor profile name to use for accurate size/distance calibration. | Set to a monitor profile you've calibrated in PsychoPy's Monitor Center, if precise visual angle matters for your study. |
| flip_horizontal | off | Mirrors all visual stimuli left-right. | Used for certain MRI mirror/projector setups where the image needs to be flipped to appear correct to the participant. Leave off for a normal monitor. |
| flip_vertical | off | Mirrors all visual stimuli top-bottom. | Same idea as flip_horizontal, for setups needing a vertical flip. Leave off for a normal monitor. |

## 5.8 Files & Folders

| Option | Default | What it does | Plain-language guidance |
| --- | --- | --- | --- |
| resource_root | EPrimeFiles (next to the script) | The folder containing the picture/sound resource files. | Leave blank/default -- the program automatically finds the EPrimeFiles folder next to angel_paradigm.py, even after copying the whole project to a new computer. Only set this manually if your resource files live somewhere unusual. |
| output_dir | (blank = a 'data' folder next to the script) | Where the output CSV file is saved. | Leave blank for the default data folder. Set a specific folder if you want session files saved somewhere else, e.g. a shared lab drive. |

# 6. Understanding the Output CSV File

Every session produces one CSV file per run (named angel_<participant>_<levels>_<timestamp>.csv) with one row per trial. It can be opened in Excel or any statistics package. A few key columns:

- level, block, trial_in_block, trial_type -- which level/block/trial this row is, and whether it was an active or baseline trial.

- stimulus_category, stimulus_family, stimulus_meaning -- which picture was shown and whether it was the meaningful or ambiguous version.

- response, rt_s, accuracy -- what the participant pressed, how long it took (seconds), and whether it was correct.

- visual_onset_global_s, response_onset_global_s, and similar _global_s columns -- the exact time (in seconds since the task started) that each event happened. These are what you use to align the task to an EEG recording.

- *_from_trigger_s columns -- the same events, re-timed to the MRI scanner trigger instead of task start. Only filled in when fmri_mode is turned on; otherwise left blank.

- corollary_mode, cd_condition, cd_feedback_onset_global_s -- which corollary-discharge feedback condition applied to this trial, and exactly when the tone played (if cd_audio_feedback was on).

A separate file, <same name>_markers.csv, is also written whenever any EEG marker mode is used -- it lists every marker sent during the session with its timestamp, useful for double-checking marker delivery after the fact.

# 7. Common Setups (Recipes)

### A. Quick behavioral test run on your own desktop

levels = 1, blocks = 1, practice = 2, fullscreen = off. Everything else at default.

### B. Full behavioral session, both levels, no EEG/MRI

Leave everything at default (levels = 1,2, blocks = 16). marker_mode = none, fmri_mode = off.

### C. EEG session with a parallel-port amplifier

marker_mode = parallel, parallel_address set to your amplifier's port address. fmri_mode stays off.

### D. EEG session with a Cedrus C-Pod

marker_mode = cpod, cpod_port left blank for auto-detect (or set explicitly, e.g. COM7, if auto-detect doesn't find it).

### E. fMRI session

fmri_mode = on, trigger_keys set to whatever key your scanner sends (commonly 's'), wait_duration_s set to your number of discarded dummy scans in seconds. Optionally also set marker_mode if you're simultaneously recording EEG-fMRI.

### F. Passive session, no response device connected

show_feedback = off, cd_audio_feedback = off. The task will still show every trial and log its timing normally; it just won't show accuracy feedback or play a response-linked feedback tone that assumes a button was pressed.

# 8. Troubleshooting

### "No Cedrus C-Pod found on any serial port"

The program will print a list of every serial port it can see on the computer, with descriptions. Check the C-Pod is plugged in and powered, then set cpod_port to the matching COM port from that list.

### The project was copied to a new computer and won't find its picture/sound files

This is already handled automatically -- resource_root is stored as a path relative to angel_paradigm.py, so it keeps working after copying the whole project folder anywhere, on any computer or user account.

### Accuracy feedback seems wrong or unwanted

If no response device is connected, every trial will show as a "miss", which makes the accuracy feedback screens misleading. Turn off show_feedback (and cd_audio_feedback) as described in Recipe F above.

### The program crashes with a confusing error on an older PsychoPy installation (2024.1.5 or earlier)

This was a known compatibility issue with how that PsychoPy version's startup dialog returns dropdown selections, and has been fixed -- the program now automatically detects and corrects for it, and also repairs an angel_config.json file that was previously corrupted by it. If you still see this, please contact whoever maintains the script with the exact error message.